## Alarm Detail
Description | Signal Translation | Type | Deliver To
Alarm Accessed | Date/Time Alarm was Accessed | Agent Action
Medical follow up | Operator requested follow-up after help is sent | Agent Action
PFA Dispatched | Indicator that Police/Fire/Ambulance was sent to home | Agent Action
Responder Dispatched | Indicator that Responder was sent to home | Agent Action
Smoke Detected | Smoke Detected Signal | Emergency | Deliver to Agent
Help Needed - PHB | Help Needed - PHB | Emergency | Deliver to Agent
Help Needed AutoAlert | Help Needed AutoAlert | Emergency | Deliver to Agent
Help Needed Base | Help Needed - Panel | Emergency | Deliver to Agent
Inactivity | Inactivity alarm | Emergency | Deliver to Agent
Missed Reminder | Missed reminder for 9500 | Emergency | Deliver to Agent
Help Still Needed | Unit was not reset from an alarm | Emergency | Deliver to Agent
Fall Detected AutoAlert | Fall Detected AutoAlert | Emergency | Deliver to Agent
Bad Transmission | Similar to Call No Message (Signal Received with No Data) | Emergency | Deliver to Agent
Undefinded Message Type | Similar to Call No Message (Signal Received with No Data) | Emergency | Deliver to Agent
Unsupported Signal Format | Similar to Call No Message (Signal Received with No Data) | Emergency | Deliver to Agent
Emergency Button Press @Home | Help Needed Button (in range of home - OTG) | Emergency | Deliver to Agent
Help Needed - Button | Help Needed - Button | Emergency | Deliver to Agent
Fall Detected | Fall Detected | Emergency | Deliver to Agent
HELP NEEDED PHB | HELP NEEDED PHB | Emergency | Deliver to Agent
HELP NEEDED BASE | Help Needed - Panel | Emergency | Deliver to Agent
HELP STILL NEEDED | Unit was not reset from an alarm | Emergency | Deliver to Agent
RF TRNSMTR #1 ALARM | Help Needed - button assigned to 1st slot on older landline | Emergency | Deliver to Agent
RF TRNSMTR #2 ALARM | Help Needed - button assigned to 2nd slot on older landline | Emergency | Deliver to Agent
RF TRNSMTR #3 ALARM | Help Needed - button assigned to 3rd slot on older landline | Emergency | Deliver to Agent
RF TRNSMTR #4 ALARM | Help Needed - button assigned to 4th slot on older landline | Emergency | Deliver to Agent
RF TRNSMTR #5 ALARM | Help Needed - button assigned to 5th slot on older landline | Emergency | Deliver to Agent
RF TRNSMTR #6 ALARM | Help Needed - button assigned to 6th slot on older landline | Emergency | Deliver to Agent
RF TRNSMTR #7 ALARM | Help Needed - button assigned to 7th slot on older landline | Emergency | Deliver to Agent
RF TRNSMTR #8 ALARM | Help Needed - button assigned to 8th slot on older landline | Emergency | Deliver to Agent
Fall Detected\Missed Reminders | Fall detected on newer models - Missed Reminder on 9500 | Emergency | Deliver to Agent
ALARM 1 | Unknown alarm type | Emergency | Deliver to Agent
Alarm Data Missing | Unknown alarm data | Emergency | Deliver to Agent
Call No Message (ANI Availabl) | Call no message (Signal Received with No Data, ANI number available) | Emergency | Deliver to Agent
Home Unit Reset | Reset signal from unit | Emergency | Deliver to Agent
Missed Reminder (HN Fall Det.) | Missed Reminder with attached Fall Detected | Emergency | Deliver to Agent
Help Needed AHB | Help Needed AHB | Emergency | Deliver to Agent
Fall Detected - AHB | Fall Detected - AHB | Emergency | Deliver to Agent
Fall Detected - MHB | Fall Detected - MHB | Emergency | Deliver to Agent
Help Needed MHB | Help Needed MHB | Emergency | Deliver to Agent
Help Needed - Button | Help Needed - Button | Emergency | Deliver to Agent
Fall Detected | Fall Detected | Emergency | Deliver to Agent
New Installation - AA | Welcome signal for Auto Alert | Emergency | Deliver to Agent
New Installation - MHB | Welcome signal for MHB (not used) | Emergency | Deliver to Agent
New Installation - CellularBase | Welcome signal for cellular Panel | Emergency | Deliver to Agent
New Installation - PHB | Welcome signal for PHB | Emergency | Deliver to Agent
Failed Supervision | Pendant not communicating with communicator | Maintenance | Report to Program
Low Battery Base | Low Battery Unit | Maintenance | Report to Program
Low Battery base | Low Battery Home Unit | Maintenance | Report to Program
No power to base | No A/C Home Unit | Maintenance | Report to Program
EXTENDED AC LOSS | No A/C Home Unit | Maintenance | Report to Program
AC Power Lost | No A/C Home Unit | Maintenance | Report to Program
RF Supervision Fail | Pendant not communicating with communicator | Maintenance | Report to Program
No AC to home unit | No A/C Home Unit | Maintenance | Report to Program
FAILED Supervision | Pendant not communicating with communicator | Maintenance | Report to Program
Low Battery | Low battery base | Maintenance | Report to Program
No A/C Home Unit | No A/C Home Unit | Maintenance | Report to Program
Supervision Failure | Pendant not communicating with communicator | Maintenance | Report to Program
Low Battery PHB | Low Battery PHB | Maintenance | Replacement Action to Program
Low Battery AutoAlert | Low Battery AutoAlert | Maintenance | Replacement Action to Program
Low Battery mPERS Peripheral | Low Battery button | Maintenance | Replacement Action to Program
Low Battery button | Low Battery button | Maintenance | Replacement Action to Program
RF TRNSMTR #1 LOW BATTERY | Low battery button assigned to 1st slot of communicator (older models) | Maintenance | Replacement Action to Program
RF TRNSMTR #2 LOW BATTERY | Low battery button assigned to 2nd slot of communicator (older models) | Maintenance | Replacement Action to Program
RF TRNSMTR #3 LOW BATTERY | Low battery button assigned to 3rd slot of communicator (older models) | Maintenance | Replacement Action to Program
RF TRNSMTR #4 LOW BATTERY | Low battery button assigned to 4th slot of communicator (older models) | Maintenance | Replacement Action to Program
RF TRNSMTR #5 LOW BATTERY | Low battery button assigned to 5th slot of communicator (older models) | Maintenance | Replacement Action to Program
RF TRNSMTR #6 LOW BATTERY | Low battery button assigned to 6th slot of communicator (older models) | Maintenance | Replacement Action to Program
RF TRNSMTR #7 LOW BATTERY | Low battery button assigned to 7th slot of communicator (older models) | Maintenance | Replacement Action to Program
RF TRNSMTR #8 LOW BATTERY | Low battery button assigned to 8th slot of communicator (older models) | Maintenance | Replacement Action to Program
RESET CLOCK - Low Battery FD | Low Battery FD Pendant | Maintenance | Replacement Action to Program
Hardware Failure | Hardware Failure | Maintenance | Replacement Action to Program
Software Failure | Software Failure | Maintenance | Replacement Action to Program
Low Battery - AHB | Low Battery - AHB | Maintenance | Replacement Action to Program
Low Battery MHB | Low Battery MHB | Maintenance | Replacement Action to Program
H/W Failure | Hardware Failure | Maintenance | Replacement Action to Program
S/W Failure | Software Failure | Maintenance | Replacement Action to Program

## ERC Abbreviations
Common Abbreviations
Abbreviation | Definition
AAHB | AutoAlert Help Button
ADMIN | Administrative
A/M | Answering Machine
AMB | Ambulance
APT | Apartment
ASST | Assist/ Assisted/ Assisting
AUTH | Authorized, Authorization
B/C | Because
BLDG | Building
BTR | Brother
C/L | Communication Log
CTR | Center
DEPT | Department
DISC | Disconnected
DISP | Dispatcher
DR | Doctor/ Physician
DTR | Daughter
EMER | Emergency
ENRTE | On The Way
ETA | Estimated Time of Arrival
FD | Fire Department
FTR | Father
GRDDTR | Granddaughter
GRDSN | Grandson
HHN | Household Number
HKL | Hidden Key Location
HN or H/N | Help Needed
HOSP | Hospital
HSN | Help Still Needed
IMP | Important
INQ | Inquiry
LBB | Low Battery Button
LBHU | Low Battery Home Unit
L/M | Left Message
LPM | Local Program Manager
LLU | Lifeline Unit
MGR | Manager
MR | Mister
MRS | Missus
MS | Generic Female Salutation
MTR | Mother
N/A | No Answer
NHN | No Help Needed
NO A/C | No Power
NR | No Response
OPER | Operator
OXY | Oxygen
PER | According To
PFA | Police, Fire, Ambulance
PHB | Personal Help Button
POL | Police
PREF HOSP | Preferred Hospital
PREV | Previous
REC'D | Received
REQ | Request/ Requested/ Requesting
RESP | Responder
SOL | Stay On Line
STR | Sister
SUB | Subscriber
SUPP | Support
SRV | Service
T/S | Troubleshot/ Troubleshoot
TEL | Telephone
TRANS | Transport/ Transported/ Transporting
W/O | Without
W/ | With
W/C | Wheelchair